## Mendel Frame
Assembly | Vendor | Part Number | Quantity | Description | Cost Per Unit | Total Cost | Website
Frame | Misumi | HNKK5-5 | 1 | Nuts for Aluminum Frame | 15.26 | 15.26 | http://us.misumi-ec.com
| Misumi | HFS5-2020-265-TPW | 4 | Aluminum Extrusion - 265mmv - Tapped Ends | 6.63 | 26.52 | http://us.misumi-ec.com
| Misumi | HFS5-2020-300-TPW | 4 | Aluminum Extrusion - 300mm - Tapped Ends | 5.31 | 21.24 | http://us.misumi-ec.com
| Misumi | HFS5-2020-385-TPW-AH70-BH315 | 2 | Aluminum Extrusion - 385mm - Tapped Ends, Horz Drilled Holes | 8.79 | 17.58 | http://us.misumi-ec.com
| Misumi | HFS5-2020-380-TPW | 4 | Aluminum Extrusion - 380mm - Tapped Ends | 5.76 | 23.04 | http://us.misumi-ec.com
| McMaster | 95155A111 | 2 | ACME Nuts | 5.12 | 10.24 | http://www.mcmaster.com/#95155a111/=zjxac0
| MSC Industrial Supply | 4354635 | 1 | Leadscrews - 3/8-12 Thread, 6 Ft. Long, Left Hand, Acme Threaded Rod | 24.2 | 24.2 | https://www.mscdirect.com/product/details/04354635
| Fastenal | 47768 | 2 | 8mm rod (5/16" drill rod) | 5.59 | 11.18 | https://www.fastenal.com/products/details/47768
| Amazon | N/A | 1 | 2 x Aluminum GT2 16T Pulley and 2M Belt for RepRap 3D printer Prusa i3 | 14.95 | 14.95 | http://www.amazon.com/gp/product/B00THZJNTI?refRID=32517S1TZQSCBGJ8AKWA&ref_=pd_bia_nav_t_1
| Amazon | N/A | 1 | 12x LM8UU Linear Bearing | 24.95 | 24.95 | http://www.amazon.com/gp/product/B00IK4NLCC?psc=1&redirect=true&ref_=oh_aui_detailpage_o02_s00
| Amazon | N/A | 4 | 608ZZ Bearings | 2 | 8 | http://www.amazon.com/Bearing-Shielded-Greased-Miniature-Bearings/dp/B002BBD6X4/ref=pd_sim_328_3?ie=UTF8&dpID=51iStG7O5sL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0F28TWTGT67XNFJFBXJM
Assembly | Vendor | Part Number | Quantity | Description | Cost Per Unit | Total Cost
Hardware |  |  |  | Socket Head M3x10 mm | 18
|  |  |  | Socket Head M3x12 mm | 3
|  |  |  | Socket Head M3x20 mm | 13
|  |  |  | Socket Head M3x25 mm | 1
|  |  |  | Socket Head M3x50 mm | 2
|  |  |  | Socket Head M4x20 mm | 2
|  |  |  | Socket Head M5x10 mm | 118
|  |  |  | Socket Head M5x16 mm | 9
|  |  |  | Flat Head M5x10 mm | 4
|  |  |  | Socket Head M8x20 mm | 4
|  |  |  | Socket Head M8x30 mm | 2
|  |  |  | Rod M8x30 mm | 1
|  |  |  | M3 Nuts | 21
|  |  |  | M4 Nuts | 2
|  |  |  | M5 Nuts (thin) | 23
|  |  |  | M5 Nuts (t-slot) | 96
|  |  |  | #6 Washer | 32
|  |  |  | #10 Washer | 106
|  |  |  | 8 mm Washer | 4
|  |  |  | 8 mm Fender Washer | 1
|  |  |  | 8 mm Nut | 6
|  |  |  | 3 mm Set screw | 1
|  |  |  | Extruder Spring | 2
|  |  |  | Button Head M5x20 mm | 4
|  |  |  | Lead Screw Hardware | 6
|  |  |  | Zip Ties | 3
Aluminum Bed Hardware
|  |  | 5 | Socket Head M3x25 mm
|  |  | 2 | Socket Head M3x30 mm
|  |  | 6 | Socket Head M3x45 mm
|  |  | 4 | Flat Head M5x25 mm
|  |  | 13 | M3 Nuts
|  |  | 4 | M5 Nuts (thin)
|  |  | 4 | Spacers
|  |  | 4 | Binder Clips
|  |  | 1 | Washer
[5 empty] | sum | 197.16

## Mendel Electrical
Mendel Electrical BOM
Assembly | Vendor | Part Number | Quantity | Description | Cost Per Unit | Total Cost | Website
Power | Amazon | N/A | 1 | 12V 30A DC Universal Regulated Switching Metal Case Power Supply Adaptor Transformer 360W | 25.27 | 25.27 | http://www.amazon.com/gp/product/B00KXV4WH8?psc=1&redirect=true&ref_=oh_aui_detailpage_o00_s02
6' or 10'? | Amazon | N/A | 1 | 14 AWG 3 Prong AC Power Cord, Pigtail (Open End), 15 Amp Max, 6 ft | 12.99 | 12.99 | http://www.amazon.com/Prong-Power-Cord-Pigtail-Open/dp/B00LDXXJ38/ref=sr_1_7?ie=UTF8&qid=1450487736&sr=8-7&keywords=pigtail+extension+cord
| Amazon | N/A | 1 | Arduino MEGA2560 | 17.99 | 17.99 | http://www.amazon.com/SunFounder-ATmega2560-16AU-Board-compatible-Arduino/dp/B00D9NA4CY/ref=sr_1_5?ie=UTF8&qid=1449243226&sr=8-5&keywords=arduino+2560&refinements=p_85%3A2470955011
| Amazon | N/A | 1 | RAMPS V1.4 Electronics Board | 10.09 | 10.09 | http://www.amazon.com/Hobbypower-Printer-Controller-REPRAP-Arduino/dp/B00MQH49ZC/ref=sr_1_1?rps=1&ie=UTF8&qid=1450488439&sr=8-1&keywords=Hobbypower+3D+Printer+Controller+RAMPS+1.4+for+REPRAP+MENDEL+PRUSA+Arduino&refinements=p_85%3A2470955011
| Amazon | N/A | 1 | 5x A4988 stepper Motor Driver | 8.49 | 8.49 | http://www.amazon.com/gp/product/B00MQR93QC?psc=1&redirect=true&ref_=oh_aui_detailpage_o01_s00
| Amazon | N/A | 1 | 5x Stepper Motor Set, 2A, 40mm body, NEMA17, 64 oz.in. | 62 | 62 | http://www.amazon.com/gp/product/B00QEXSCE8?psc=1&redirect=true&ref_=oh_aui_detailpage_o03_s00
| Amazon | N/A | 1 | 5x Mechanical Endstops/Limit Switch | 12.99 | 12.99 | http://www.amazon.com/gp/product/B014Y0VGOU?psc=1&redirect=true&ref_=oh_aui_detailpage_o08_s00
| Amazon | N/A | 1 | Basic Wiring Kit for RAMPS | 7.59 | 7.59 | http://www.amazon.com/gp/product/B00SCJNP7G?psc=1&redirect=true&ref_=oh_aui_detailpage_o08_s00
| Digikey | 259-1566-ND | 1 | 12VDC Fan | 4.29 | 4.29 | http://www.digikey.com/product-search/en?vendor=0&keywords=ME40101V1-000U-A99
Shugru
Epoxy
Heat Shrink
Wire
Total Cost | [5 empty] | 161.7

## Syringe Pump
Syringe Extruder BOM
Vendor | Quantity | Part Number | Description | Cost per unit | Total Cost | Notes
Rockwest | 10 | BR-C-050 | Dry Braided Sleeve - Carbon Fiber - 0.5" | 1.85 | 18.5
Digikey | 4 | FQP30N06L-ND | MOSFET | 1.07 | 4.28
Digikey | 1 | 438-1046-ND | Breadboard | 12.44 | 12.44
Digikey | 4 | DS18B20+-ND | TempSensor | 2.68 | 10.72
Digikey | 1 | 1050-1041-ND | Arduino_UNO | 21.54 | 21.54
Digikey | 1 | T1171-P5RP-ND | Power_Adapter_5V_3.6A | 14.74 | 14.74
Digikey | 1 | 839-1219-ND | Barrel_Jack_to_Gator | 7.31 | 7.31
Digikey | 1 | 8331S-15G | Conductive Epoxy 10min work time | 49.61 | 49.61
Digikey | 4 | WM2534-ND | 3-POS Molex Female | 0.66 | 2.64
Digikey | 12 | WM2516-ND | Molex Connector Pin Crimp Gold 24-30AWG | 0.46 | 5.52 | Could also use WM2565-CT @ 0.13ea
Digikey | 4 | WM2901-ND | 3-POS Molex Male | 0.22 | 0.88
Digikey | 12 | WM2513-ND | Molex Connector Socket Crimp Gold 24-30AWG | 0.19 | 2.28 | Could also use WM2562-CT @ 0.12ea
Digikey | 4 | WM2533-ND | 2-POS Molex Female | 0.63 | 2.52
Digikey | 8 | WM2515CT-ND | Molex Connector Pin Crimp Gold 22-24AWG | 0.28 | 2.24 | Could also use WM2517CT-ND @ 0.15ea
Digikey | 4 | WM2900-ND | 2-POS Molex Male | 0.26 | 1.04
Digikey | 8 | WM2512-ND | Molex Connector Socket Crimp Gold 22-24AWG | 0.2 | 1.6 | Could also use WM2510CT-ND @ 0.13ea
Sparkfun | 1 | COM-11288 | Heating Pad - 5x10cm | 3.95 | 3.95
Sparkfun | 5 | PRT-09915 | JSST Jumper 3 Wire Assembly | 1.5 | 7.5
Sparkfun | 1 | PRT-10811 | DC Barrel Jack Adapter - Breadboard Compatible | 0.95 | 0.95
Sparkfun | 5 | SEN-08733 | Infrared Sensor Jumper Wire 3-Pin JST | 1.5 | 7.5
SDP-SI | 1 | A 7X 1-06012 | .18720" (+.000/-.0002) Dia. 1.25" Long 303 Stainless Steel Shaft | 2.46 | 2.46
SDP-SI | 2 | A 7X 1-04023 | .12470" (+.000/-.0002) Dia. 2.375" Long 303 Stainless Steel Shaft | 2.46 | 4.92
SDP-SI | 1 | A 7X 8-C04031 | 0.125" I.D. 0.1875" O.D. 0.031" Thick Shaft Spacer | 1.1 | 1.1
SDP-SI | 3 | A 7X 8-C04016 | 0.125" I.D. 0.1875" O.D. 0.016" Thick Shaft Spacer | 1.01 | 3.03
SDP-SI | 1 | S5000Y-12510 | 0.1248" Bore 0.3125" O.D. 0.18" Wide 303 Stainless Steel Collar Style | 3.56 | 3.56
SDP-SI | 1 | A 1T 2-Y32016 | 32 DP 16 Teeth 20Â° Pressure Angle Acetal / Brass insert spur Gear | 5.1 | 5.1
SDP-SI | 1 | S1C83Z-P048B055S | 55:1 Gear Ratio 55 Teeth Worm Gear | 36.91 | 36.91
SDP-SI | 1 | S1D94Z-P048SS | 48DP/1 Lead/.33PD 20Â° Pressure Angle Stainless Steel Worm | 18.09 | 18.09
SDP-SI | 1 | S1063Z-048A024 | 48 D.P. 24 Teeth 20Â° Pressure Angle AGMA Q10 Quality With ( Hub / S.S.) 2024 Aluminum Alloy Gear. | 13.11 | 13.11
SDP-SI | 1 | S1063Z-048S048 | 48 D.P. 48 Teeth 20Â° Pressure Angle AGMA Q10 Quality With ( Hub / S.S.) 303 Stainless Steel Gear. | 18.57 | 18.57
Servocity | 1 | 585442 | 3.00 inch Aluminum Channel | 3.99 | 3.99
Servocity | 1 | 555152 | Stepper Motor Mount (NEMA 17) | 7.49 | 7.49
Servocity | 1 | 625176 | 3/16 inch to 5mm Set Screw Shaft Coupler | 4.99 | 4.99
Servocity | 1 | 634136 | 3/16 inch x1 inch Precision Shaft | 0.49 | 0.49
Servocity | 1 | 634138 | 3/16 inch x2 inch Precision Shaft | 0.69 | 0.69
Servocity | 2 | 633138 | Center Hole Adaptors (4 pack) | 1.99 | 3.98
Servocity | 2 | 535206 | 1/8 inch ID x 3/8 inch OD Ball Bearing (2 pack) | 1.99 | 3.98
Servocity | 1 | 545424 | 90 Degree Quad Hub Mount B | 4.99 | 4.99
Servocity | 1 | 585656 | Beam Bracket T (Pair) | 1.49 | 1.49
Servocity | 1 | 585600 | Beam Attachment Block B (4 pack) | 4.99 | 4.99
Servocity | 1 | 585416 | 6.16 inch Aluminum Beam (2 pack) | 5.49 | 5.49
Servocity | 1 | 615410 | 32P Beam Gear Rack | 5.99 | 5.99
Servocity | 2 | 585434 | 1 inch Bore Tube Clamp A | 5.99 | 11.98
Servocity | 1 | 585612 | Beam Bracket F (Pair) | 1.49 | 1.49
Servocity | 1 | 585404 | 1.54 inch Aluminum Beam (2 pack) | 2.39 | 2.39
Servocity | 1 | 585490 | Beam Crossover Adaptor A | 2.99 | 2.99
Servocity | 1 | 585400 | Attachment Blocks (12 pack) | 9.99 | 9.99
Servocity | 1 | 545360 | 90 Degree Quad Hub Mount C | 5.99 | 5.99
Servocity | 1 | 632146 | Actobotics Hardware Pack A | 39.99 | 39.99 | Don't need 1 ea
Servocity | 4 | 534-3488 | 6-32x .750 inch Aluminum Standoffs (Round) | 0.45 | 1.8
Total Cost |  |  |  |  | 409.79

## Cooling System
Syringe Extruder BOM
Vendor | Quantity | Part Number | Description | Cost per unit | Total Cost
Digikey | 4 | FQP30N06L-ND | MOSFET | 1.07 | 4.28
Digikey | 4 | DS18B20+-ND | TempSensor | 2.68 | 10.72
Digikey | 1 | 1050-1041-ND | Arduino_UNO | 21.54 | 21.54
Digikey | 1 | ATS-1758 | Heat Sink 60x60x25mm | 14.26 | 14.26
Digikey | 1 | 603-1370-ND | Squirrel Cage Blower | 13.97 | 13.97
Digikey | 1 | 3M12011-ND | Adhesive Heat Tape | 6.24 | 6.24
Digikey | 2 | FQP30N06L-ND | MOSFET | 1.07 | 2.14
Sparkfun | 1 |  | Thermoelectric Cooler 40mmx40mm | 11.95 | 11.95 | https://www.sparkfun.com/products/10080 | Backordered
Amazon | 1 | N/A | Command Strips Refill Small 20-Strips | 5.74 | 5.74
Digikey | 1 | 1050-1041-ND | Arduino_UNO | 21.54 | 21.54
Digikey | 1 | T1171-P5RP-ND | Power Adapter 5V 3.6A | 16.37 | 16.37
Digikey | 1 | 839-1219-ND | Barrel Jack to Gator | 8.12 | 8.12
Total Cost |  |  |  |  | 136.87

## Misc Electrical
Syringe Extruder BOM
Vendor | Quantity | Part Number | Description | Cost per unit | Total Cost
Sparkfun | 1 | ML8511 | UV Sensor Breakout Board | 12.95 | 12.95
Digikey | 1 | ASW40-25-ND | Cable Wrap - 1/8" 25ft | 17.3 | 17.3
Digikey | 1 | ASW41-25-ND | Cable Wrap - 1/4" 25ft | 14.04 | 14.04
Digikey | 1 | ASW43-25-ND | Cable Wrap - 1/2" 25ft | 26.06 | 26.06 | Needed?
Digikey | 1 | Q2F1-KIT-ND | Heatshrink Kit | 24.66 | 24.66
Sparkfun | 1 | 1 | Hot Air Rework Station | 114.95 | 114.95 | https://www.sparkfun.com/products/10706
Amazon | 3 | N/A | Hakko 599B-02 Solder Tip Cleaning Wire and Holder | 8.94 | 26.82 | http://www.amazon.com/gp/product/B00FZPGDLA?psc=1&redirect=true&ref_=oh_aui_search_detailpage
Amazon | 3 | N/A | Thermaltronics Tip Tinner | 7.95 | 23.85 | http://www.amazon.com/dp/B00NS4J6BY?psc=1
Amazon | 1 |  | Joe Knows Electronics 33 Value 645 Piece Capacitor Kit | 19.99 | 19.99 | Don't need 1 ea
Amazon | 1 |  | Joe Knows Electronics Semiconductor Kit (320 Transistors & Diodes) | 29.99 | 29.99 | Don't need 1 ea
Amazon | 1 |  | Joe Knows Electronics 1/4W 86 Value 860 Piece Resistor Kit | 13.99 | 13.99 | Don't need 1 ea
0
0
Total Cost |  |  |  |  | 324.6

## Tools
Syringe Extruder BOM
Vendor | Quantity | Part Number | Description | Cost per unit | Total Cost
Amazon | 1 | N/A | Helping Hands | 6.31 | 6.31 | http://www.amazon.com/Helping-Hand-01902-with-Magnifier/dp/B000P42O3C/ref=sr_1_1?s=industrial&ie=UTF8&qid=1450721450&sr=1-1&keywords=helping+hands
Amazon | 1 | N/A | Engineer PA-09 Micro Connector Crimpers | 38.4 | 38.4 | http://www.amazon.com/dp/B002AVVO7K/ref=wl_it_dp_o_pC_nS_ttl?_encoding=UTF8&colid=3TC1Z36RD4QTY&coliid=I2LXQGH4SVIFVP
Amazon | 1 | N/A | Greenlee PA1118 GripP 20 Wire Stripper/Cutter, 30-20 AWG | 13.29 | 13.29 | http://www.amazon.com/dp/B0006BHHDQ/ref=wl_it_dp_o_pC_nS_ttl?_encoding=UTF8&colid=3TC1Z36RD4QTY&coliid=I1ARHJXW0B512T
Amazon | 1 | N/A | Sm Wire Cutters | 4.37 | 4.37
SDP-SI | 1 | A 4T15-094 | Hex Wrench Small |  |  | Don't need 1 ea
SDP-SI | 1 | A 4T15-078 | Hex Wrench Small |  |  | Don't need 1 ea
SDP-SI | 1 | A 4T15-062 | Hex Wrench Small |  |  | Don't need 1 ea
SDP-SI | 1 | A 4T15-050 | Hex Wrench Small |  |  | Don't need 1 ea
SDP-SI | 1 | A 4T15-035 | Hex Wrench Small |  |  | Don't need 1 ea
SDP-SI | 1 | A 4T15-028 | Hex Wrench Small |  |  | Don't need 1 ea
Digikey | 1 | 8331S-15G | Conductive Epoxy 10min work time | 49.61 | 49.61 | Already Have
Wrench
Allen Keys
Amazon | 1 | N/A | TEKTON 6655 Needle File Set, 10-Piece | 6.57 | 6.57 | http://www.amazon.com/TEKTON-6655-Needle-File-10-Piece/dp/B000NPUKYS/ref=pd_sim_469_1?ie=UTF8&dpID=412lincr%2B5L&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=1HJJEZJVYKSHT3VQXTWN
Amazon | 1 | N/A | Shugru - 8 Pack | 22 | 22 | http://www.amazon.com/dp/B00EU7DBNM/ref=wl_it_dp_o_pC_nS_ttl?_encoding=UTF8&colid=3TC1Z36RD4QTY&coliid=I1GUSCSW80A32Y
0
0
0
0
Total Cost |  |  |  |  | 140.55

## Mendel Printed Parts
| Part Number | Quantity | Description | Website
Printed Part |  | 4 | Lower Vertex Middle 35 Degrees
Printed Part |  | 4 | Lower Vertex Right-Left 35 Degrees
Printed Part |  | 2 | Upper Z Mount Idler 135 Degrees
|  |  | Left Lower Vertex | 1
|  |  | Right Lower Vertex | 1
|  |  | Left Upper Vertex | 1
|  |  | Right Upper Vertex | 1
|  |  | Z Motor Mount | 1
|  |  | Left Z Motor Support | 1
|  |  | Right Z Motor Support | 1
|  |  | Z Upper Vertex | 1
|  |  | Y Idler Tensioner | 1
|  |  | Y Tensioner Mount | 1
|  |  | Y Motor Mount | 1
|  |  | X Brace w logo | 1
|  |  | X Brace | 1
|  |  | Y Brace | 1
|  |  | Z Rod Clamp | 1
|  |  | Y Rod Clamp | 1
|  |  | Y Rod Holder | 1
|  |  | Y Setting Jig | 1
|  |  | Extruder | 1
|  |  | Extruder Idler | 1
|  |  | Large Extruder Gear | 1
|  |  | Small Extruder Gear | 1
|  |  | X-end Motor | 1
|  |  | X-end Idler | 1
|  |  | Y-carriage | 1
|  |  | Y Belt Clamps | 1
|  |  | Spool Holder | 1
|  |  | X Carriage | 1